## Slide 1: Microgrids

## Slide 2: DC Microgrid

## Slide 3: NANO GRID
A nanogrid is a basic building block of the microgrid architecture that integrates its resources in a scalable manner into the community. Each house contains a roof-mounted solar panel, a few DC loads and battery storage. The bidirectional flow of power is controlled via power electronic converters referred to as central power processing units (CPPUs). A CPPU contains a microcontroller along with a maximum power point tracking (MPPT)-based DC-DC converter and a bidirectional flyback converter

## Slide 4: MICROGRID
A microgrid can be defined as power cluster of distributed generation, load, and energy storage device accumulated together in the vicinity to each other. It gives opportunity to utilize renewable energy sources for green and clean environment.

## Slide 5: DC MICROGRID
A microgrid can be defined as power cluster of distributed generation, load, and energy storage device accumulated together in the vicinity to each other. ... The DC terminals are connected to electronic loads, electric vehicles, and batteries which form a Direct Current Microgrid.

## Slide 6: AC MICROGRID
AC microgrid. An AC microgrid connects to the distribution network via an AC bus, and the AC bus controls the microgrid's connection to and disconnection from the distribution network through the circuit breaker at the PCC.

## Slide 7: Ac and dc microgrid

## Slide 8: Ac/dc microgrid

## Slide 9: Integration system (CLO2)

## Slide 11
the block diagram of the current control system. In the decoupled d-axis and q-axis current control loops, two conventional PI controllers are employed to eliminate current errors. The grid voltage vector is used in a feed-forward loop to compensate for the grid harmonics.
The outputs of PI controllers are inductor filter voltage references vLd* and vLq* that are superimposed by vgd and vgq to generate the inverter output voltage references vd* and vq* for SVPWM, as proposed by the Authors. The current references id* and iq* are provided by the output of PV Array.

## Slide 12: Current control loop

## Slide 13: Grid Tie Mode
Reference current
Vdcref
PI
Vdc
Idref
Iqref
PI
−
−
Iq
Id
∑
∑
ωl
ωl
Vd
Vq
Iq
Id
DQ0 to ABC
SVPWM
Vabc
PLL
ABC to DQ0 Clarke &Park
Transformation
Vabc
Vdq
Idq
_
+
θ
θ
Vabc
Iabc
Vqref
Vdref

## Slide 14: GRID TIE MODE
Current control mode of operation
  P/Q control mode
Unity power factor
Power flow from microgrids towards utility grid.

## Slide 15: Voltage control loop

## Slide 16: Island Mode
Reference voltages
PI
PI
Vd
Vd*
Vq
Vq*
−
−
Id*
Iq*
PI
PI
∑
DQ0
To
ABC
SVPWM
ωl
ωl
Iq
Id
−
+
+
+
Idref
Iqref
+
+
ABC to dq0
θref
Vdq
Idq*
Vdcref
Vdc
Vabc
Iabc

## Slide 17
Effective control strategies for reliable photovoltaic (PV) grid-connected systems are needed to efficiently use solar energy, an abundant and clean renewable energy source
Space vector pulse width modulation (SVPWM) has been widely applied in the current control of three-phase voltage source inverters (VSIs).
The control strategy combines a constant voltage tracking method for the variable photovoltaic power with SVPWM-based proptional-intergral (PI) current controller in a single stage three-phase PV grid-connected system.

## Slide 18: Hybrid System

## Slide 19: Results
Case 1.
Grid tie Mode operation
PV radiation varies from 3 to 5 seconds
Constant load profile

## Slide 20: PV and PMSG Power

## Slide 21: DC Link Voltage

## Slide 22: Microgrid active and reactive power

## Slide 23: Utility grid active and reactive power

## Slide 24: Voltage and current of microgrid

## Slide 25: Voltage and current of utility grid

## Slide 26: PMSG and PV Power case 2

## Slide 27: DC Link Voltage

## Slide 28: Active and Reactive power of microgrid

## Slide 29: Active and reactive power of utility grid

## Slide 30: Case 3
Grid tie mode operation
Load decrease from 10 Kw to 5 Kw
5 Kw is injected to utility grid

## Slide 31: Active and Reactive power of microgrid

## Slide 32: Active and Reactive power of utility grid

## Slide 33: Case 4
Grid tie mode to island mode
Constant power generation
Constant load profile

## Slide 34: Active and Reactive power of microgrid

## Slide 35: Voltage and current of microgrid in zoom